###### KURO

###### Information for invitation to tender

Product:

#### PC/ABS Forwarding Tube – halogenfree

- manufactured according to DIN 6660

- rated non-toxic with regard to the acute

inhalation toxicity

- fire classification B-s1-d0

*according to DIN EN 13501-1:2010-01

Text for Invitation to tender:

| Pos: ....................... | PC/ABS Forwarding Tube 108 x 4.0 x 5000 mm |
| --- | --- |
|  | colour: light grey (according to RAL 7035) |
|  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with band hose clamps |
|  | System KURO or equal (www.kuro-kunststoffe.com) Quantity: ............ m Price/Unit: .......... Price total: .......... |

| Pos: ....................... | PC/ABS Forwarding Tube 110 x 2.3 x 5000 mm |
| --- | --- |
|  | colour: light grey (according to RAL 7035) |
|  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps |
|  | System KURO or equal (www.kuro-kunststoffe.com) Quantity: ............ m Price/Unit: .......... Price total: .......... |

| Pos: ....................... | PC/ABS Forwarding Tube 160 x 3.2 x 5000 mm |
| --- | --- |
|  | colour: light grey (according to RAL 7035) |
|  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  | Quantity: ............ m Price/Unit: .......... Price total: .......... |