###### KURO

###### Information for invitation to tender

Product:

#### PC/ABS Forwarding Tube – halogenfree

- manufactured according to DIN 6660

- rated non-toxic with regard to the acute

inhalation toxicity

- fire classification B-s1-d0

*according to DIN EN 13501-1:2010-01

Text for Invitation to tender:

| Pos: ....................... | PC/ABS Forwarding Tube 108 x 4.0 x 5000 mm |
| --- | --- |
|  | colour: light grey (according to RAL 7035) |
|  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps |
|  | System KURO or equal (www.kuro-kunststoffe.com) Quantity: ............ m Price/Unit: .......... Price total: .......... |

Product:

#### PC/ABS Forwarding Bend – halogenfree

- manufactured according to DIN 6660

- rated non-toxic with regard to the acute

inhalation toxicity

- fire classification B-s1-d0

*according to DIN EN 13501-1:2010-01

Text for Invitation to tender:

|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 550 mm |
| --- | --- | --- |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |

|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |
| --- | --- | --- |

|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 650 mm |
| --- | --- | --- |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |

|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 800 mm |
| --- | --- | --- |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |

|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 1000 mm |
| --- | --- | --- |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |
|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 1250 mm |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |

|  | Pos: ....................... | PC/ABS Forwarding Bend 108 x 4.0 ; R = 1500 mm |
| --- | --- | --- |
|  |  | colour: light grey (according to RAL 7035) |
|  |  | material: PC/ABS Blend – halogenfree * manufactured according to DIN 6660 * rated non-toxic with regard to the acute inhalation toxicity * fire classification B-s1-d0 (according to DIN EN 13501-1:2010-01) * connection with wide band hose clamps System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | Quantity: ............ pc Price/Unit: .......... Price total: .......... |