###### KURO

###### Information for invitation to tender



**Product:**

#### PEHD Underground sleeve / Electrofusion Coupler

* with internal fusion wires
* to fuse KURO PEHD underground tubes
* without inner ring

**Text for Invitation to tender:**

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | **PEHD Underground sleeve / Electrofusion Coupler – PTS NW 90** |
|  |  | for PEHD Underground programme 110 x 12.0 mm |
|  |  | colour: black |
|  |  | \* consider INSTRUCTION SHEET PEHD-UNDERGROUND TUBE SYSTEM |
|  |  | System KURO or equal ([www.kuro-kunststoffe.](http://www.kuro-kunststoffe.de/en)com) |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  | Pos: ....................... | **PEHD Underground sleeve / Electrofusion Coupler – PTS NW 100** |
|  |  | for PEHD Underground programme 125 x 12,5 mm |
|  |  | colour: black |
|  |  | \* consider INSTRUCTION SHEET PEHD-UNDERGROUND TUBE SYSTEM |
|  |  | System KURO or equal ([www.kuro-kunststoffe.](http://www.kuro-kunststoffe.)com) |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | **PEHD Underground sleeve / Electrofusion Coupler** – **PTS NW 110** |
|  |  | for PEHD Underground programme 125 x 9.8 mm |
|  |  | colour: black |
|  |  | \* consider INSTRUCTION SHEET PEHD-UNDERGROUND TUBE SYSTEM |
|  |  | System KURO or equal ([www.kuro-kunststoffe.](http://www.kuro-kunststoffe.)com) |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | **PEHD Underground sleeve / Electrofusion Coupler – PTS NW 160** |
|  |  | for PEHD Underground programme 200 x 23.2 mm |
|  |  | colour: black |
|  |  | \* consider INSTRUCTION SHEET PEHD-UNDERGROUND TUBE SYSTEM |
|  |  | System KURO or equal ([www.kuro-kunststoffe.](http://www.kuro-kunststoffe.de/en)com) |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |