
###### **KURO**

###### **Information for invitation to tender**

****

**Product:**

# **PEHD Underground sleeve**

* Material: PEHD corrugated tube or PVC smooth tube
* with accessories:

2 shrink hoses, 1 plug, component A+B

* **without** PEHD electrofusion coupler

**Text for Invitation to tender:**

|  |  |  |
| --- | --- | --- |
| Pos: ....................... |  | **PEHD Underground sleeve NW 90 (for PEHD Underground tube covered)** |
|  |  | with accessories for composite insulation |
|  |  | Sleeve made of PEHD tube 235 x 20 x 480 mm, corrugated |
|  |  | \* accessories: 2 shrink hoses, 1 plug, component A+B  \* consider: Instruction sheet PEHD-Underground Tube System |
|  |  | \* consider: PEHD Instruction Lamoltan-Foam-System |
|  |  | System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | deliver and assemble. |
|  |  |  |
|  |  | Quantitiy: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
| Pos: ....................... |  | **PEHD Underground sleeve NW 100 (for PEHD Underground tube covered)** |
|  |  | with accessories for composite insulation |
|  |  | Sleeve made of PVC tube 250 x 6.2 x 480 mm, smooth |
|  |  | \* accessories: 2 shrink hoses, 1 plug, component A+B  \* consider: Instruction sheet PEHD-Underground Tube System |
|  |  | \* consider: PEHD Instruction Lamoltan-Foam-System |
|  |  | System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | deliver and assemble. |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit : .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  |  |  |
| Pos: ....................... |  | **PEHD Underground sleeve NW 110 (for PEHD Underground tube covered)** |
|  |  | with accessories for composite insulation |
|  |  | Sleeve made of PVC tube 250 x 6.2 x 480 mm, smooth |
|  |  | \* accessories: 2 shrink hoses, 1 plug, component A+B  \* consider: Instruction sheet PEHD-Underground Tube System |
|  |  | \* consider: PEHD Instruction Lamoltan-Foam-System |
|  |  | System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | deliver and assemble. |
|  |  |  |
|  |  | Quantity: ............ piece Price/unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
| Pos: ....................... |  | **PEHD Underground sleeve NW 160 (for PEHD Underground tube covered)** |
|  |  | with accessories for composite insulation |
|  |  | Sleeve made of PVC tube 315 x 7.7 x 480 mm, smooth |
|  |  | \* accessories: 2 shrink hoses, 1 plug, component A+B  \* consider: Instruction sheet PEHD-Underground Tube System |
|  |  | \* consider: PEHD Instruction Lamoltan-Foam-System |
|  |  | System KURO or equal (www.kuro-kunststoffe.com) |
|  |  | deliver and assemble. |
|  |  |  |
|  |  | Quantity: ............ piece Price/unit: .......... Price total: .......... |