
###### KURO

###### Information for invitation to tender





**Product:**

#### PVC Underground bend

* Material: PVC & PEHD (corrugated pipe)
* with composite insulation, foamed
* also available wit a smooth outer tube

**Text for Invitation to tender:**

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 60 x 2.5 mm / R=800 mm – **NW 55** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 63 x 1.9 mm / R=300 mm – **NW 63** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 63 x 1.9 mm / R=550 mm – **NW 63** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 70 x 2.5 mm / R=500 mm – **NW 65** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 80 x 2.5 mm / R=500 mm – **NW 75** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 80 x 2.5 mm / R=800 mm – **NW 75** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  | Pos: ....................... |  |
|  |  | PVC Underground bend 80 x 2.5 mm / R=1200 mm – **NW 75** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 90 x 2.0 mm / R=550 mm – **NW 90** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 90 x 2.0 mm / R=650 mm – **NW 90** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 90 x 2.0 mm / R=750 mm – **NW 90** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=550 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=650 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=800 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=1000 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=1250 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 108 x 4.0 mm / R=1500 mm – **NW 100** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 110 x 2.3 mm / R=550 mm – **NW 110** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 110 x 2.3 mm / R=650 mm – **NW 110** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 110 x 2.3 mm / R=800 mm – **NW 110** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 110 x 2.3 mm / R=1000 mm – **NW 110** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 110 x 2.3 mm / R=1250 mm – **NW 110** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 125 x 2.6 mm / R=1000 mm – **NW 125** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 132 x 4.0 mm / R=650 mm – **NW 124** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 132 x 4.0 mm / R=1000 mm – **NW 124** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 160 x 3.2 mm / R=800 mm – **NW 160** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 160 x 3.2 mm / R=1200 mm – **NW 160** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground bend 200 x 4.0 mm / R=800 mm – **NW 200** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 200 x 4.0 mm / R=1250 mm – **NW 200** |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground bend 315 x 6.2 mm / R=1250 mm – NW 315 |
|  |  | with protective corrugated cover, foamed |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |