###### KURO

###### Information for invitation to tender



**Product:**

#### PVC Underground Sleeve

* with Accessories (2 shrink hoses,

1 plug, component A+B)

* without PVC-forwarding sleeve,

available separately

**Text for Invitation to tender:**

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 55** for PVC Underground tube 60 x 2.5 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwarding sleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 63** for PVC Underground tube 63 x 1.9 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |
|  | Pos: ....................... | PVC Underground sleeve - **NW 65** for PVC Underground tube 70 x 2.5 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 75** for PVC Underground tube 80 x 2.5 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 90** for PVC Underground Tube 90 x 2.0 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 100** for PVC Underground tube 108 x 4.0 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 110** for PVC Underground tube 110 x 2.3 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |
|  |  |  |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 125**for PVC Underground tube 125 x 2.6 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 124**for PVC Underground tube 132 x 4.0 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 160** for PVC Underground tube 160 x 3.2 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground sleeve - **NW 200**for PVC Underground tube 200 x 4.0 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |

|  |  |  |
| --- | --- | --- |
|  | Pos: ....................... | PVC Underground Tube - **NW 315**for PVC Underground tube 315 x 6,2 mm |
|  |  | with 2 shrink hoses, 1 plug, component A+B (without forwardingsleeve) |
|  |  | System KURO or equal (www.kuro-kunststoffe.com), |
|  |  | deliver and assemble |
|  |  |  |
|  |  | Quantity: ............ piece Price/Unit: .......... Price total: .......... |